## Sheet1
GPD | 750
Dosed Gallons | 91.94
# Doses / Day | 9
Pump GPM | 51
Minutes / Dose | 1.8027
Seconds / Dose | 108.1647
Minutes/ Day | 1440
Seconds / Day | 86400
Time in Day for Dosing (Min) | 16.2247
Time Between Dosing (Min) | 158.1973
Time Between Dosing (s) | 9491.8353